# MEHRAN UNIVERSITY OF ENGINERING AND TECHNOLOGY

FRM-001/QSP-004

Dec.01.2001

## TENTATIVE TEACHING PLAN

DEPARTMENT OF ELECTRICAL ENGINEERING

Name of Teacher:

# Subject:     Instrumentation & Measurements	 Batch: 11EL-II 	Year:3rd     Term: 5th

# Term Starting  Date: 07-01-2013			Term Suspension Date: 28-04-2013

| S # | Course Contents of the Subject | Lecture hrs required |
| --- | --- | --- |
|  | Review of Measuring Instruments | 1 |
|  | Selection of measurement instruments | 1 |
|  | Errors in measurements | 2 |
|  | Calibration and extension of meters | 1 |
|  | AC & DC voltmeters and ammeters | 1 |
|  | Use of CT and PT with instruments | 2 |
|  | Rectifier and amplifier instruments | 2 |
|  | Analogue AC meters configuration | 2 |
|  | Wattmeter | 2 |
|  | Two wattmeter method | 1 |
|  | Kwh meters | 2 |
|  | Recording instruments | 2 |
|  | Class Test-I | 1 |
|  | Power factor meter | 1 |
|  | Frequency meter | 1 |
|  | Phase sequence meter | 1 |
|  | Q-factor meter | 1 |
|  | Wheat stone bridge principle/uses | 2 |
|  | AC Bridges | 2 |
|  | Electronic instruments | 3 |
|  | CRO Principle, types | 2 |
|  | CRO uses + storage CRO | 2 |
|  | Introduction to Digital instruments | 1 |
|  | Digital voltmeters (DVMS) | 2 |
|  | Class Test-II | 1 |
|  | Signal analysis | 2 |
|  | Signal generator | 1 |
|  | Wave and harmonic analysis | 2 |
|  | Measurement of non electrical quantities | 2 |
|  | Transducers classification | 1 |
|  | Transducers uses | 2 |
|  | Digital transducers | 2 |
|  | Class Test-III | 1 |
|  | Total | 52 |

Signature of Teacher:						       Dated:

Remarks of DMRC:

Signature of Chairman: