MEHRAN UNIVERSITY OF ENGINEERING & TECHNOLOGY FRM-001/00/QSP-006 Feb.04, 2002

TENTATIVE TEACHING PLAN

###### DEPARTMENT OF ELECTRICAL ENGINEERING

##### Name of Teacher: 	Prof. Agha Zafarullah Pathan

Subject:     Power System Analysis   	Batch:	07	Year: Final 	Term: 7th

Session Starting Date: 03-01-2011				Term Ending Date: 24-04-2011

| S # | Topic | No. of Lect. Hrs. Req. |
| --- | --- | --- |
|  | Introduction to the subject | 01 |
|  | Representation of power systems: Symbols, building blocks | 01 |
|  | One line diagram: Construction methodology | 01 |
|  | The impedance and reactance diagrams | 02 |
|  | Single-Phase solution of balanced three phase network | 01 |
|  | Per unit computation: Selection / Change of base of p.u quantities | 02 |
|  | Solution of numericals | 03 |
|  | Analysis of symmetrical components | 02 |
|  | Problems using symmetrical components | 04 |
|  | Sequence impedance of power transmission lines | 02 |
|  | Sequence impedance and network of synchronous machines | 01 |
|  | Sequence impedance of transformers | 01 |
|  | Construction of sequence network of a power system | 01 |
|  | Line to ground faults of machines + problems | 02 |
|  | Line to line faults of machines + problems | 02 |
|  | Line to line to grounds faults of machines + problems | 02 |
|  | Faults through impedance + problems | 01 |
|  | Faults on large Systems | 04 |
|  | Comparison of faults on grounded and ungrounded system | 01 |
|  | Network model equations and their formulation | 01 |
|  | Load flow problem | 02 |
|  | Comparison of load flow methods | 02 |
|  | Control of voltage profile | 01 |
|  | Classification of various buses | 01 |
|  | Nodal admittance Matrix-3bus/5n-bus | 03 |
|  | Gauss-Seidal Method | 02 |
|  | Steady state and transient and transient stability | 02 |
|  | Power Angle diagram | 02 |
|  | Two Machine System + problems | 02 |
| Total Lecturer hrs: | 52 |

Signature of Teacher 						Dated:

Remarks of DMRC

Signature of Chairman 					Dated: